# Report for consumo normal con posibles pérdidas nocturnas o consumos nocturnos sin explicar

# 1. Time Series Characterization

Mean consumption: 96.17587939698493

Median consumption: 52.0

Std deviation: 114.05891014507215

Minimum consumption: 1

Maximum consumption: 472

95th percentile: 322.0

Total records: 398

Above Normal deviations: 2

Below Normal deviations: 0

# 2. Consumption Line Plot

# 3. Deviation Heatmap